## Slide 1: State Water Plan Conservation and Reuse Strategies in the CAPCOG Region

## Slide 2: Reuse and Conservation Strategies
Demand Reduction
  Municipal Conservation
  Irrigation Conservation
  Other Conservation
  Drought Management
Reuse
  Direct Potable Reuse
  Other Direct Reuse
  Indirect Reuse
Notes: Conservation: reduce water consumption or increase water use efficiency
  Municipal conservation includes low-flow plumbing fixtures, water conservation pricing structures, water system audits, and landscaping restrictions, among others
  Irrigation conservation includes savings associated with changes to irrigation methods and equipment
  Other conservation includes savings from steam-electric, manufacturing, and mining conservation; may include cooling and process water practices, water audits, submetering
  Drought management: reduces water use during times of drought from temporary restriction on certain economic and domestic activities
Reuse:
  Direct potable reuse: treating wastewater effluent to a higher standard so that it would be suitable as a new water supply
  Other direct reuse involves using treated wastewater for non-potable uses such as landscaping or industrial processes
  Indirect reuse involves discharging wastewater into a natural water body and diverting that water for subsequent use

## Slide 3: Water Supply Strategies 2020-2070
Chart: Acre-Feet
| Demand Reduction and Reuse | New Surface Water and Ground Water
2020 | 125755 | 136295
2030 | 158023 | 196154
2040 | 201346 | 221638
2050 | 231132 | 275142
2060 | 269284 | 323997
2070 | 310108 | 379100
Notes: Demand and reuse constitutes 48% of the water supply strategies needed in 2020 and 45% in 2070

## Slide 4: Region-Wide Conservation and Reuse
Chart: Acre-Feet, 2020
| Municipal Conservation | Irrigation Conservation | Other Conservation | Drought Management | Direct Potable Reuse | Other Direct Reuse | Indirect Reuse
Acre-Feet | 32952 | 5 | 321 | 35894 | 0 | 17325 | 39258

## Slide 5: Region-Wide Conservation and Reuse
Chart: Acre-Feet, 2070
| Municipal Conservation | Irrigation Conservation | Other Conservation | Drought Management | Direct Potable Reuse | Other Direct Reuse | Indirect Reuse
Acre-Feet | 125367 | 11 | 1733 | 71049 | 0 | 61636 | 50312

## Slide 6: Demand Reduction by County
Chart: Acre-Feet
| Bastrop | Blanco | Burnet | Caldwell | Fayette | Hays | Lee | Llano | Travis | Williamson
2020 | 3262 | 326 | 2569 | 131 | 717 | 2493 | 143 | 950 | 54966 | 3615
2030 | 4559 | 396 | 3768 | 12 | 798 | 4584 | 521 | 1181 | 67441 | 7957
2040 | 5880 | 418 | 5061 | 20 | 866 | 6952 | 798 | 1350 | 80107 | 14202
2050 | 7706 | 428 | 6322 | 29 | 968 | 10160 | 832 | 1487 | 90739 | 21398
2060 | 10209 | 442 | 7543 | 35 | 1073 | 14407 | 876 | 1705 | 100476 | 29705
2070 | 13593 | 452 | 8649 | 128 | 1165 | 19632 | 928 | 1918 | 111302 | 40393

## Slide 7: Reuse by County
Chart: Acre-Feet
| Bastrop | Blanco | Burnet | Caldwell | Fayette | Hays | Lee | Llano | Travis | Williamson
2020 | 0 | 0 | 61 | 16 | 134 | 6535 | 0 | 150 | 49687 | 0
2030 | 0 | 0 | 61 | 16 | 149 | 8752 | 0 | 150 | 57678 | 0
2040 | 300 | 0 | 61 | 25 | 159 | 10578 | 0 | 150 | 74419 | 0
2050 | 600 | 0 | 61 | 14 | 168 | 11767 | 0 | 150 | 78303 | 0
2060 | 1120 | 0 | 61 | 14 | 176 | 13104 | 0 | 150 | 88188 | 0
2070 | 1120 | 0 | 61 | 13 | 182 | 14681 | 0 | 150 | 95741 | 0

## Slide 8: Reliance on Conservation and Reuse by County
Chart: % of Demand Met by Conservation and Reuse
| Bastrop | Blanco | Burnet | Caldwell | Fayette | Hays | Lee | Llano | Travis | Williamson | Region-Wide
2020 | 0.092713 | 0.12274 | 0.14018 | 0.018516 | 0.018628 | 0.23747 | 0.016694 | 0.1158 | 0.36001 | 0.031003 | 0.21924
2030 | 0.098737 | 0.13548 | 0.17221 | 0.0031139 | 0.020758 | 0.27703 | 0.040257 | 0.1381 | 0.36155 | 0.056055 | 0.2308
2040 | 0.1173 | 0.13625 | 0.19977 | 0.0044692 | 0.02161 | 0.28562 | 0.058845 | 0.15685 | 0.38763 | 0.082713 | 0.25367
2050 | 0.135 | 0.13622 | 0.22314 | 0.0038424 | 0.021259 | 0.29532 | 0.058865 | 0.17352 | 0.38683 | 0.10525 | 0.25795
2060 | 0.15434 | 0.13812 | 0.24184 | 0.0039638 | 0.021679 | 0.29537 | 0.059334 | 0.19438 | 0.40104 | 0.12358 | 0.2676
2070 | 0.16516 | 0.13989 | 0.25517 | 0.010401 | 0.021518 | 0.29828 | 0.059844 | 0.21401 | 0.40674 | 0.14476 | 0.27422

## Slide 9: Summary
Conservation and reuse strategies account for nearly half of all of the future water supply strategies for the CAPCOG region
Indirect reuse constitutes the largest regional conservation and reuse strategy in 2020, followed by drought management and municipal conservation
The region will increasingly rely on municipal conservation, drought management, and indirect reuse in the future
There is significant variation county-to-county in reliance on reuse and conservation as strategies

## Slide 10: Thank you
Capital Area Council of Governments
www.capcog.org
Christiane Alepuz
calepuz@capcog.org
(512) 916-6005